## Worksheet
Controllers
PLC Wiren Board 7.4
Base configuration | WB7.4-ALL |  | 384.48
Options
Memory and reliability grade | 1 Gbyte RAM, 8 Gbyte eMMC (Industrial, -40 to +75 °С) |  | 0
| 2 Gbyte RAM, 64 Gbyte eMMC (Industrial, -40 to +75 °С) |  | 143.1
| 2 Gbyte RAM, 64 Gbyte eMMC (commercial, 0 to +75 °С) |  | 55.17
Standard configurations
1 Gb RAM, 8 Gb eMMC Memory and reliability grade: 1 Gbyte RAM, 8 Gbyte eMMC (Industrial, -40 to +75 °С) |  | WB7.4-1G-8G-IND | 384.48
2 Gb RAM, 64 Gb eMMC (Industrial grade) Memory and reliability grade: 2 Gbyte RAM, 64 Gbyte eMMC (Industrial, -40 to +75 °С) |  | WB7.4-2G-64G-IND | 527.59
2 Gb RAM, 64 Gb eMMC (commercial grade) Memory and reliability grade: 2 Gbyte RAM, 64 Gbyte eMMC (commercial, 0 to +75 °С) |  | WB7,4-2G-64G-COM | 439.66
PLC Wiren Board 8.4
Base configuration | WB8-ALL |  | 384.48
Options
Memory and reliability grade | 2 Gbyte RAM, 16 Gbyte eMMC (industrial, −25 to +75 °С) |  | 0
| 4 Gbyte RAM, 64 Gbyte eMMC (industrial, −25 to +75 °С) |  | 55.17
PLC in metal case Wiren Board 7M |  | WB7M-ALL | 384.48
Demo kit WB-demo-kit-v3
Base configuration | WB-DEMO-KIT |  | 1367.24
Options
Memory and reliability grade | 1 Gbyte RAM, 8 Gbyte eMMC (Industrial) |  | 0
| 2 Gbyte RAM, 64 Gbyte eMMC (commercial) |  | 55.17
Standard configurations
Memory and performance Memory and reliability grade: 1 Gbyte RAM, 8 Gbyte eMMC (Industrial) |  | WB-demo-kit v.3 1+8 | 1367.24
Memory and performance Memory and reliability grade: 2 Gbyte RAM, 64 Gbyte eMMC (commercial) |  | WB-demo-kit v.3 2+64 | 1422.41
Extension modules for Wiren Board controllers
Input-output extension module WBIO-DI-WD-14 |  | WBIO-DI-WD-14 | 50
Input-output extension module WBIO-DO-SSR-8 |  | WBIO-DO-SSR-8 | 39.66
Input-output extension module WBIO-DO-R10A-8 |  | WBIO-DO-R10A-8 | 56.9
Input-output extension module WBIO-DO-R10R-4 |  | WBIO-DO-R10R-4 | 56.9
Input-output extension module WBIO-DO-R1G-16 |  | WBIO-DO-R1G-16 | 100
Input-output extension module WBIO-DI-HVD-16 |  | WBIO-DI-HVD-16 | 65.52
Input-output extension module WBIO-DI-HVD-8 |  | WBIO-DI-HVD-8 | 43.1
Battery module WB-UPS v.2 |  | WB-UPS v.2 | 79.31
Extension module WBE2R-R-ZWAVE-ZWAY |  | WBE2R-R-ZWAVE-ZWAY | 156.9
Extension module WBC-4G v.2 |  | WBC-4G v.2 | 65.52
Extension module WBC2-4G |  | WBC2-4G | 65.52
Extension module WBE2R-R-LORA |  | WBE2R-R-LORA | 58.62
Extension module WBE2R-R-ZIGBEE v.2 + antenna |  | WBE2R-R-ZIGBEE v.2 | 58.62
Extension module WBE2R-R-ZIGBEE-SH + antenna |  | WBE2R-R-ZIGBEE-SH | 132.17
Extension module WBE2-DI-DR-3 |  | WBE2-DI-DR-3 | 13.79
Extension module WBE2-DO-R3A-1 |  | WBE2-DO-R3A-1 | 12.07
Extension module WBE2-DO-R6C-1 |  | WBE2-DO-R6C-1 | 13.79
Extension module WBE2-DO-SSR-2 |  | WBE2-DO-SSR-2 | 13.79
Extension module WBE2-I-1-WIRE |  | WBE2-I-1-WIRE | 13.79
Extension module WBE2-I-KNX |  | WBE2-I-KNX | 100
Extension module WBE2-I-RS232 |  | WBE2-I-RS232 | 13.79
Extension module WBE2-I-RS485-ISO |  | WBE2-I-RS485-ISO | 24.14
Extension module WBE2R-R-GPS |  | WBE2R-R-GPS | 37.93
Extension module WBE2-I-OPENTHERM |  | WBE2-I-OPENTHERM | 110.34
Extension module WBE2-I-EBUS |  | WBE2-I-EBUS | 110.34
Power Module PoE WBP-ACTIVE-POE |  | WBP-ACTIVE-POE | 46.55
Supercapacitor back-up module WBMZ4-SUPERCAP |  | WBMZ4-SUPERCAP | 43.1
Battery module for Wiren Board 7 WBMZ4-BATTERY |  | WBMZ4-BATTERY | 43.1
Battery module for Wiren Board 8 WBMZ5-BATTERY |  | WBMZ5-BATTERY | 43.1
Relay modules
2-channel relay module with power measurement WB-MRWM2 |  | WB-MRWM2 | 82.76
6-channel relay module WB-MR6C v.2 |  | WB-MR6C v.2 | 68.97
6-channel relay module with built-in power supply WB-MR6C v.3 |  | WB-MR6C v.3 | 82.76
Relay module 6-channel WB-MR6-LV
Base configuration | 00143 |  | 89.66
Options
Type of outputs | / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | 0
| / S - SPST, normally open contact, extra high inrush current, up to 500 A (1.5 ms) |  | 6.9
Standard configurations
WB-MR6LV/S Type of outputs: / S - SPST, normally open contact, extra high inrush current, up to 500 A (1.5 ms) |  | WB-MR6LV/S | 96.55
WB-MR6LV/I Type of outputs: / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | WB-MR6LV/I | 89.66
WB-MR6HV/I Type of outputs: / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | WB-MR6HV/I | 89.66
WB-MR6HV/S Type of outputs: / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | WB-MR6HV/S | 89.66
6-channel relay module WB-MR6CU v.2 |  | WB-MR6CU v.2 | 63.79
Relay module 3-channel WB-MR3-LV
Base configuration | 00115 |  | 62.07
Options
Type of outputs | / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | 0
| / S - SPST, normally open contact, extra high inrush current, up to 500 A (1.5 ms) |  | 1.72
Standard configurations
WB-MR3LV/S Type of outputs: / S - SPST, normally open contact, extra high inrush current, up to 500 A (1.5 ms) |  | WB-MR3LV/S | 63.79
WB-MR3LV/I Type of outputs: / I - SPDT, switchable contact group, high inrush current, up to 120 A (20 ms) |  | WB-MR3LV/I | 62.07
Relay module 6-channel WB-MRPS6/S |  | WB-MRPS6/S | 82.76
Relay module 3-channel WB-MRWL3 |  | WB-MRWL3 | 70.69
Relay module 2-channel WB-MRM2-mini v.2
Base configuration | WB-MRM2-mini |  | 39.66
Options
Relay configuration | /NO - Relay with normally open contacts, 10A 230 VAC |  | 0
| /NC - Relay with normally closed contacts, 3A 230 VAC |  | 0
Standard configurations
WB-MRM2-mini/NO Relay configuration: /NO - Relay with normally open contacts, 10A 230 VAC |  | WB-MRM2-mini/NO | 39.66
WB-MRM2-mini/NC Relay configuration: /NC - Relay with normally closed contacts, 3A 230 VAC |  | WB-MRM2-mini/NC | 39.66
Energy meters
Multi-circuit energy meter WB-MAP12E
Base configuration | WB-MAP12E |  | 234.48
Options
Current transformers | without current transformers |  | 0
| Split-core CTs, 6mm hole dia., 20A (12 pcs) |  | 103.45
| Split-core CTs, 10mm hole dia.,80A (12 pcs) |  | 103.45
| Split-core CTs, 16mm hole dia., 140A (12 pcs) |  | 134.48
| Solid-Core CTs, 24mm hole dia., 200A (12 pcs) |  | 331.03
| Solid-Core CTs, 35mm hole dia., 500A (3 pcs) |  | 517.24
Counter setting | No setting |  | 0
| With setting |  | 19.83
Energy meter WB-MAP3E
Base configuration | WB-MAP3E |  | 89.66
Options
Configure energy meter | No setting |  | 0
| With setting |  | 15.52
Energy meter WB-MAP3ET |  | WB-MAP3ET | 108.62
Multi-channel meter WB-MAP6S
Base configuration | WB-MAP6S |  | 68.97
Options
Current transformers | without current transformer |  | 0
| Split-core CTs, 6mm hole dia., 20A (6 pcs) |  | 51.72
| Split-core CTs, 10mm hole dia.,80A (6 pcs) |  | 51.72
| Split-core CTs, 16mm hole dia., 140A (6 pcs) |  | 67.24
| Solid-Core CTs, 24mm hole dia., 200A (6 pcs) |  | 165.52
| Solid-Core CTs, 35mm hole dia., 400A (6 pcs) |  | 258.62
Configure energy meter | No setting |  | 0
| With setting |  | 15.52
Three phase voltmeter WB-MAP3EV |  | WB-MAP3EV | 68.97
Current transformer strip 3x 5(125) A, 9mm, WB-CT309 |  | WB-CT309 | 19.83
Current transformer 20А, 6 mm, KCT-6 |  | KCT-6 | 8.62
Current transformer 80A, 10 mm, ZEMCTK05-14 |  | ZEMCTK05-14 | 8.62
Current transformer 140A, 16 mm, ZEMCTK04-13 |  | ZEMCTK04-13 | 11.21
Current transformer 200A, 24 mm, CTSA024 |  | CTSA024 | 27.59
Current transformer 400А, 35 mm, CTSA035 |  | CTSA035 | 43.1
One-piece current transformer 8 A, 6 mm ZMCT205D |  | ZMCT205D | 1.72
One-piece current transformer 40 A, 7 mm ZMCT134 |  | ZMCT134 | 2.59
One-piece current transformer 100 A, 12 mm ZMDCT21 |  | ZMDCT21 | 4.31
DC sensor ±30 А HSTS016L-D05 |  | HSTS016L-D05 | 29.31
DC sensor ±100 А HSTS016L-D07 |  | HSTS016L-D07 | 29.31
Sensors
Modbus sensor WB-MSW v.4 wall sensor
Base configuration | WB-MSW4 |  | 56.9
Options
Built-in temperature and humidity sensors | With sensors |  | 0
| Without sensors |  | -10.34
Built-in illumination sensor + IR blaster (transmitter-receiver) | With sensors |  | 0
| Without sensors |  | -15.52
Built-in sound sensor | With sensor |  | 0
| Without sensors |  | -5.17
Built-in motion sensor | With sensors |  | 0
| Without sensors |  | -8.62
Built-in CO2 sensor | Without sensor |  | 0
| Sensor CM1106 |  | 58.62
Build-in air quality sensor | Without sensor |  | 0
| With sensor |  | 39.66
Verification | No |  | 0
| Yes |  | 100
Standard configurations
WB-MSW v.4-TH Built-in temperature and humidity sensors: With sensors Built-in illumination sensor + IR blaster (transmitter-receiver): Without sensors Built-in sound sensor: Without sensors Built-in motion sensor: Without sensors Built-in CO2 sensor : Without sensor Build-in air quality sensor: Without sensor Verification: No |  | WB-MSW4-TH | 67.24
WB-MSW v.4 Built-in CO2 sensor : Without sensor Verification: No |  | WB-MSW4 | 96.55
WB-MSW v.4-CM1106 Built-in CO2 sensor : Sensor CM1106 Verification: No |  | WB-MSW4-CM1106 | 155.17
WB-MSW v.4 CERT Verification: Yes |  | WB-MSW4-CERT | 196.55
Zigbee wall sensor WB-MSW-ZIGBEE v.4
Base configuration | WB-MSW4-ZIGBEE |  | 96.55
Options
Built-in temperature and humidity sensors | With sensors |  | 0
| Without sensors |  | -10.34
Light sensor+IR transceiver | With sensors |  | 0
| Without sensors |  | -15.52
Sound sensor | With sensors |  | 0
| Without sensors |  | -5.17
Motion Sensor | With sensors |  | 0
| Without sensors |  | -8.62
CO2 sensor | Without sensor |  | 0
| With sensor |  | 58.62
Air quality sensor | Without sensor |  | 0
| With sensor |  | 39.66
Verification | No |  | 0
| Yes |  | 100
Standard configurations
WB-MSW4-ZIGBEE Verification: No |  | WB-MSW4-ZIGBEE | 136.21
WB-MSW4-ZIGBEE CERT Verification: Yes |  | WB-MSW4-ZIGBEE-CERT | 236.21
Bus coupler for digital thermometers WB-M1W2 |  | WB-M1W2 | 25.86
Temperature sensor 1-wire DS18B20
Base configuration | DS18B20 |  | 7.76
Options
Length | 1 m |  | 0
| 3 m |  | 3.97
| 5 m |  | 7.76
| 10 m |  | 18.1
Standard configurations
1-wire DS18B20/1m (гильза) Length: 1 m |  | DS18B20/1m | 7.76
1-wire DS18B20/3m (гильза) Length: 3 m |  | DS18B20/3m | 11.72
1-wire DS18B20/5m (гильза) Length: 5 m |  | DS18B20/5m | 15.52
1-wire DS18B20/10m (гильза) Length: 10 m |  | DS18B20/10m | 25.86
Combined sensor WB-MS v.2
Base configuration | WB-MS |  | 37.93
Options
Built-in temperature and humidity sensor | Yes |  | 0
| No |  | -10.34
Built-in illumination sensor | Yes |  | 0
| No |  | -10.34
Built-in air quality sensor | No |  | 0
| Yes |  | 39.66
Analog input module WB-MAI2-mini / СС |  | WB-MAI2-mini / СС | 29.31
Analog input module WB-MAI6 |  | WB-MAI6 | 91.38
Wireless Modbus sensor WB-MSW-LORA v.4
Base configuration | WB-MSW4-LORA |  | 105.17
Options
Built-in temperature and humidity sensors | With sensors |  | 0
| Without sensors |  | -10.34
Built-in illumination sensor + IR blaster (transmitter-receiver) | With sensors |  | 0
| Without sensors |  | -15.52
Built-in sound sensor | With sensors |  | 0
| Without sensors |  | -5.17
Built-in CO2 sensor | Without sensor |  | 0
| With sensor |  | 58.62
Air quality sensor | Without sensor |  | 0
| With sensor |  | 39.66
Verification | No |  | 0
| Yes |  | 100
Standard configurations
WB-MSW4-LORA Verification: No |  | WB-MSW4-LORA | 136.21
WB-MSW4-LORA CM1106 Built-in CO2 sensor: With sensor Verification: No |  | WB-MSW4-LORA-CM1106 | 194.83
WB-MSW4-LORA CERT Verification: Yes |  | WB-MSW4-LORA-CERT | 236.21
DC sensor ±30 А HSTS016L-D05 |  | HSTS016L-D05 | 29.31
DC sensor ±100 А HSTS016L-D07 |  | HSTS016L-D07 | 29.31
Dimmers
LED Dimmer WB-LED |  | WB-LED | 53.45
LED and incandescent lamps dimmer WB-MDM3 |  | WB-MDM3 | 110.34
Module analog output 0-10В WB-MAO4 |  | WB-MAO4 | 68.97
LED Amplifier CV WB-AMPLED |  | WB-AMPLED | 48.28
Refrigerator network cards
Сетевая карта WB-REF-DF-178A |  | WB-REF-DF-178A | 51.72
Сетевая карта WB-REF-DF-ERC21 |  | WB-REF-DF-ERC21 | 26.72
Network card WB-REF-U |  | WB-REF-U | 51.72
HMI
Wall panel 4 inch YC-SM06E |  | YC-SM06E | 364.66
Wall panel 8 inch YC-SM08P |  | YC-SM08P | 460.34
Other
RS-485 bus terminator WB-T120 |  | WB-T120 | 5.17
Water metering and leakage control module WB-MWAC v.2 |  | WB-MWAC | 108.62
Infrared control device WB-MIR |  | WB-MIR | 43.1
8-channel pulse counter module WB-MCM8 |  | WB-MCM8 | 50
Module analog output 0-10В WB-MAO4 |  | WB-MAO4 | 68.97
Battery module WB-UPS v.2 |  | WB-UPS v.2 | 79.31
Interface converter WB-MGE v.2 |  | WB-MGE | 89.66
Interface converter WB-MIO |  | WB-MIO | 39.66
Interface converter WB-MIO-E v.2 |  | WB-MIO-E | 89.66
Interface converter WB-USB485 |  | WB-USB485 | 36.21
Components
Power supply for a socket GST25E24-P1J |  | 24V/MW | 18.97
RS-485 bus terminator WB-T120 |  | WB-T120 | 5.17
Разветвитель шины RS-485 WB-BUSHUB |  | WB-BUSHUB | 32.76
DIN Rail Power Supply LI15-20B24PR2 |  | LI15-20B24PR2 | 21.72
DIN Rail Power Supply LI30-20B24PR2 |  | LI30-20B24PR2 | 25.86
DIN Rail Power Supply LI60-20B24PR2 |  | LI60-20B24PR2 | 33.79
DIN rail power supply LI100-20B24PR2 |  | LI100-20B24PR2 | 44.83
DIN Rail Power Supply LI150-20B24PR2 |  | LI150-20B24PR2 | 58.62
Case WB-MSW v.4 WB-MSW v.4 |  | WB-MSW v.4-Case | 10.34
Mounting equipment 19″ panel with a DIN rail |  | STK-RACKMNT | 48.28
Frequency converter T13-750W-12-H |  | T13-750W-12-H | 82.76
Industrial memory card TS64GUSD460T |  | TS64GUSD460T | 58.62
Antenna JCG821 |  | ANT-4G-3M | 10.34
Antenna antenna |  | ANT-GSM | 3.97
Antenna GSM R/A angular |  | ANT-GSM-R/A | 2.93
Antenna GPS/GLONASS external antenna |  | ANT-GPS | 13.79
Antenna Wi-Fi antenna |  | ANT-WF | 5.69
Insulated wire ferrules 100 pcs 0,5-8
Base configuration | НШвИ |  | 3.62
Options
Size | 0,5-8 |  | 0
| 0,75-8 |  | 0.17
| 1-8 |  | 0.86
| 1,5-8 |  | 1.38
Standard configurations
Insulated wire ferrules 0,5-8 Size: 0,5-8 |  | НШвИ 0,5-8 | 3.62
Insulated wire ferrules 0,75-8 Size: 0,75-8 |  | НШвИ 0,75-8 | 3.79
Insulated wire ferrules 1-8 Size: 1-8 |  | НШвИ 1-8 | 4.48
Insulated wire ferrules 1,5-8 Size: 1,5-8 |  | НШвИ 1,5-8 | 5
Twin wire ferrules 100 pcs twin wire ferrules
Base configuration | НШВИ2 |  | 6.9
Options
Size | 0,5-8 |  | 0
| 0,75-8 |  | 0.6
| 1-8 |  | 2.76
| 1,5-8 |  | 2.76
Standard configurations
Twin wire ferrules 0,5-8 Size: 0,5-8 |  | НШвИ2 0,5-8 | 6.9
Twin wire ferrules 0,75-8 Size: 0,75-8 |  | НШвИ2 0,75-8 | 7.5
Twin wire ferrules 1-8 Size: 1-8 |  | НШвИ2 1-8 | 9.66
Twin wire ferrules 1,5-8 Size: 1,5-8 |  | НШвИ2 1,5-8 | 9.66
LAN Cable ParLan Patch Г/UTP Cat5e PVC 2х2х0,35 sq.mm |  | ParLanPatch-U/UTP | 1.9
Reciprocal terminal block Degson
Base configuration | 15EDGKA |  | 1.19
Options
Modification | 15EDGKA-3.5-03P |  | 0
| 15EDGKA-3.5-04P |  | 0.29
| 15EDGKA-3.5-06P |  | 1.19
| 2EDGKA-5.08-04P |  | 0.29